Purpose: This procedure has been written to provide an overarching document describing the taking of cervical samples in accordance with PHE CSP guidelines.

| Document reference | CYAD14 |
| --- | --- |
| Post holder responsible for procedure | Carina Hume |
| Date written | October 2006 |
| Date revised | April 2019 |
| Review Due | October |
| Authorised by | C.Hume |

CONTROLLED DOCUMENT

This document has been created following the Department of Cellular Pathology procedures for document creation. It should not be altered in any way without the express permission of the author or their representative. The current version can be found on Q-Pulse. Printed copies will show the date printed in the footer it is the responsibility of the individual to validate that the document is the current version held on Q-Pulse.

CONTENTS

| 1 |  | Introduction | Page 3 |
| --- | --- | --- | --- |
| 2 |  | The Cervical Cytology Screening Programme | Page 3 |
| 3 |  | Cervical Cytology Request Forms | Page 3 -4 |
|  |  | Open Exeter Request Forms |  |
| 4 |  | Sample Takers Equipment | Page 5 |
| 5 |  | Taking a Liquid Based Cytology Cervical Sample | Page 6 |
|  |  | Ectropions |  |
|  |  | Endocervical Brush Sampling |  |
|  |  | Do’s and Don’ts |  |
|  |  | Lubricant |  |
| 6. |  | Sample Vial Labelling | Page 7 |

1. Introduction

The following document outlines the procedure required for taking Thinprep liquid based cytology samples. Please also refer to the PHE CSP website for further information (www.cancerscreening.nhs.uk )

2. The Cervical cytology Screening Programme

Please follow NHS CSP guidelines when to take a cervical sample. Cervical samples are offered in England to women between the ages of 24.5 and 64 years as below

| 24.5 | First invitation |
| --- | --- |
| 24.5 - 49 | 3 yearly |
| 50 - 64 | 5 yearly |
| 65+ | Only screen those who have had a previous abnormal test or not had three negative tests. |

Women should only be screened opportunistically if they have previously been invited and have failed to attend for their screening appointment. Women should not be screened outside nationally defined call/recall intervals and these samples will be rejected.

The cervical cytology test does not perform well as a diagnostic test for existing cancer, or for infections or other gynaecological conditions and therefore must be used as a screening test only. A negative cytology test may falsely reassure the sample taker and patient so please ensure that the appropriate clinical investigations for women with symptoms such as abnormal bleeding, pelvic pain or abnormal looking cervix are referred to gynaecology or colposcopy.

## 3. Cervical Cytology Request Forms

Open Exeter Request Form

The sample taker where possible, must print the HMR101 request forms directly from Open Exeter. The A5 HMR101 is the preferred request form.

Please note that the woman’s last test results are included on the request form as NHS CSP national codes and are interpreted as below. The sample taker may add any previous tests or histology results as appropriate in the clinical data box. Below are examples of the forms available, however A5 forms printed on A5 paper are preferred.

## National Request Form (HMR101)

These are available from the Pathology department Stores at the Royal Devon and Exeter Hospital. Ensure that all parts of the form are filled in. Include the woman’s full name and any previous names, the NHS number, DOB, the name and address of the GP, the sample sender if different from the GP, the date of sample taken and the LMP date.

Please note that the sample taker name and/or code must be added to the Clinical Data box on the request form and then signed. Samples without this information may be rejected.

Also include any relevant clinical data such as information regarding previous abnormal samples or histology results elsewhere.

OPEN EXETER RESULT CODES

| CERVICAL CYTOLOGY RESULTS (Conventional) | CODE |
| --- | --- |
| Inadequate | 1R |
| Negative – normal recall | 2A |
| Negative – early recall | 2R |
| Borderline – early repeat | 8R |
| Borderline – refer to colposcopy | 8S |
| Borderline in Endocervicals – refer to Colposcopy | 9S |
| Low Grade Dyskaryosis – refer to colposcopy | 3S |
| Moderate dyskaryosis – refer to colposcopy | 7S |
| Severe Dyskaryosis – refer to colposcopy | 4S |
| ? Invasive Ca – refer to colposcopy | 5S |
| ?Glandular Neoplasia – refer to colposcopy | 6S |
| ?Glandular Neoplasia (Non-cervical) – Routine recall | 0A |

| CERVICAL CYTOLOGY with TRIAGE/TOC HPV TEST RESULTS | CODE |
| --- | --- |
| Borderline HPV negative – normal recall | B0A |
| Borderline HPV unavailable – early recall | BUR |
| Borderline HPV positive – refer to colposcopy | B9S |
| Borderline in Endocervicals HPV negative – normal recall | E0A |
| Borderline in Endocervicals HPV positive – refer to Colposcopy | E9S |
| Low grade dyskaryosis HPV negative – normal recall | M0A |
| Low grade dyskaryosis HPV unavailable – refer to colposcopy | MUS |
| Low grade dyskaryosis HPV positive – refer to colposcopy | M9S |
| Negative HPV positive – refer to colposcopy | N9S |
| Negative HPV unavailable – early recall | NUR |
| Negative HPV Negative – normal recall | N0R |
| ? Glandular neoplasia (non-cervical) HPV negative – normal recall | G0A |
| ? Glandular neoplasia (non-cervical) HPV positive – refer to Colposcopy | G9S |

| CERVICAL CYTOLOGY with PRIMARY HPV RESULT | CODE |
| --- | --- |
| No Cytology, HPV Result Unavailable - 3 Month Repeat | XUR3 |
| No Cytology, HPV Result Unavailable – Refer To Colposcopy/At Colp | XUS |
| No Cytology, HPV Negative - Routine 3 Year Recall | X0A36 |
| No Cytology, HPV Negative - Routine 5 Year Recall | X0A60 |
| No Cytology, HPV Negative – 12 Month Repeat | X0R12 |
| No Cytology, HPV Negative – 36 Month Repeat (Post Colp) | X0R36 |
| No Cytology, HPV Negative – Refer To Colposcopy | X0S |
| No Cytology, HPV Positive – Refer To Colposcopy | X9S |
| Unsatisfactory Cytology, HPV Detected – 3 Month Repeat | 19R3 |
| Unsatisfactory Cytology, HPV Detected – Refer To Colposcopy | 19S |
| ?Non Cervical Neoplasia, HPV Detected – 12 Month Repeat | 09R12 |
| Negative Cytology, HPV Detected – 12 Month Repeat | 29R12 |
| Negative Cytology, HPV Detected - Refer To Colposcopy | 29S |
| Low Grade Dyskaryosis, HPV Detected – Refer To Colposcopy | 39S |
| Severe Dyskaryosis, HPV Detected – Refer To Colposcopy | 49S |
| Severe Dysk ?Invasive, HPV Detected – Refer To Colposcopy | 59S |
| ?Glandular Neoplasia, HPV Detected – Refer To Colposcopy | 69S |
| Moderate Dyskaryosis, HPV Detected – Refer To Colposcopy | 79S |
| Borderline Cytology, HPV Detected – Refer To Colposcopy | 89S |
| Borderline In Endocervix, HPV Detected – Refer To Colposcopy | 99S |
| ?Non Cervical Neoplasia, HPV Detected - Refer To Colposcopy | 09S |

### Note all referrals to colposcopy are arranged directly from the laboratory

### Sample Takers Equipment

This includes a Cervex Brush and a Liquid Based Cytology PreservCyt Vial. These are available from the Royal Devon & Exeter Pathology Department Stores on 01392 402906.

If an endocervical brush sampler is required these are available from various companies

including CellPath Plc (01686 611333)

5. Taking a Liquid Based Cytology Cervical Sample

Collection of cervical cellular material into a preservative fluid must be done rapidly and according to the instructions below:

Please ensure safe and correct disposal of all materials used in this process

### Ectropions

When sampling a large ectropion, first obtain the sample and rinse as indicated above and discard the cervex broom. Then take another clean cervex broom and sample the ectropion using a circular motion. Then as quickly as possible wash the broom in the same Preservcyt vial.

Endocervical Brush Sampling

Only use an endocervical brush sampler when indicated by the laboratory For example when there has been a previous report indicating abnormal endocervical cells and endocervical cells were not present in a subsequent cervical sample. Only use with the normal cervex sampler.

Vault Samples

Use the cervex broom to take vault samples by using a sweeping action at the site of the scar or at the top of the vault.

| Do | Do Not |
| --- | --- |
| Excessive mucus should be gently removed to one side before sampling | Do not routinely clean the cervix or take a cervical swab before taking a sample |
| Always use a Cervex broom | Do not use an endocervical brush in isolation |
| Rotate the cervex broom 5 times in a clockwise direction | Do not use a wooden spatula |
| Immediately rinse the collected material into the vial | Do not leave the collection device in the vial whilst dealing with the patient |
| Replace the lid and tighten so that the black line on the lid passes the black line on the vial | Do not over tighten the lid |
| Keep the unlabelled portion of the vial free from labels so that the vial contents can be seen | Do not put multiple labels or barcode labels on the vial |
| Label the vial with 3 identifiers: (e.g. surname, forename & DOB or NHS no). Send the samples to the laboratory without delay | Do not use expired vials |

Lubricant

Lubricant must not be used. It is recommended that warm water is used only. If a lubricant must be used, only use water-based lubricant such as KY jelly but ensure that this does not contaminate the cervix. Samples contaminated with lubricants may be unsatisfactory for reporting.

Please ensure that topical creams are ceased 7 days prior to taking a cervical sample.

6. Sample Vial Labelling

Write the woman’s surname, forename and date of birth on the label (note: the laboratory will reject samples and request forms with less than 3 patient identifiers and discard all unlabelled samples).

Put the vial and the corresponding request form in a suitable pathology bag and send to the Cytology Department at the Royal Devon & Exeter Hospital.

Reference

NHS Cervical Screening Programme - Guidance for the training of cervical sample takers

PHE Nov 2016 (Replaces NHSCSP Publication 23)

# Text boxes

CELLULAR PATHOLOGY DEPARTMENT

STANDARD OPERATING PROCEDURE

INSTRUCTIONS FOR CERVICAL CYTOLOGY SAMPLE TAKERS