Assessment of Medical Device Competency

# Medical Device:

# Blood Creatinine/eGFR Meter.                                                                         High Risk    (5x3=15)

Competency statement:

The practitioner has been observed as competent in the use of Nova StatSensor® Creatinine Connectivity Meter on the date/s recorded below.

Underpinning Knowledge (including relevant policies and procedures):

| ### Underpinning knowledge and understanding required: | Date of assessment and assessor initials |
| --- | --- |
| Demonstrates an understanding of the target and action range for blood creatinine and the rationale for testing, including test frequency. |  |
| Demonstrates an understanding of the action range for eGFR and the rationale for testing, including test frequency. |  |
| Demonstrates an understanding of own accountability when undertaking renal function monitoring. |  |
| Demonstrates an understanding of the limitations of this device. |  |
| Demonstrates a working knowledge of how to activate the device and check the display screen. |  |
| Demonstrates knowledge of correct storage of test strips. |  |
| Demonstrates knowledge of where to access information on error codes. |  |
| Demonstrates knowledge of why it is important to perform the Quality Control (QC) checks on the meter and what to do if the checks fail. |  |
| Demonstrates knowledge of the different QC requirements for creatinine test strips |  |
| Demonstrates an understanding of the procedure for reporting faults or adverse events associated with the device. |  |
| Demonstrate knowledge of safe lancing sites and how to obtain a capillary sample. |  |
| Demonstrates an understanding of the Health & Safety and Infection Control issues associated with the use of this device. |  |
| Knows how to obtain replacement materials. |  |

Polices and procedures associated with this competency

Medical Devices Policy Infection Control Policy NOVA StatSensor Creatinine Connectivity Meter SOP Standard Operating Procedure (SOP) For Point Of Care Testing (POCT) For eGFR Prior To Intravascular Contrast Administration In Medical Imaging At DDC

Assessment of competency:

| ### Performance Criteria | ### Date of assessment and assessor initials |
| --- | --- |
| Ensures test strips and QC are in date and that the device has been QC checked and can perform a QC check if required. |  |
| Confirms identity of person being tested and obtains informed consent. |  |
| Prepares site and uses lancing device correctly to produce a sample. |  |
| Carries out the test according to the Standard Operating Procedure/ manufacturer’s instructions. |  |
| Complies with Infection Control and Health & Safety Policy. |  |
| Informs person tested of result within limits of responsibility and ensures their comfort. |  |
| Documents the result clearly and accurately in the appropriate records in accordance with Trust policy. |  |
| Reports result as required and if result is outside of expected range for the individual takes appropriate action. |  |
| Can clean the device after use. |  |

NB The practitioner is reminded that this document records a baseline level of competence and safe use of the device.

Signatures on Completion:

| Signature of Practitioner: |  |
| --- | --- |
| Print name: Position: |  |
| Date: |  |
| Signature of Assessor/verifier: |  |
| Print name: Position: |  |
| Date of assessment: |  |
| Re-assessment due 3 yearly unless circumstances dictate earlier |  |