Assessment of Medical Device Competency

# Medical Device:

# Siemens DCA Vantage® HbA1c Analyser.                                                      High Risk    (5x3=15)

Competency statement:

The practitioner has been observed as competent in the use of Siemens DCA Vantage® HbA1c Analyser on the date/s recorded below.

Underpinning Knowledge (including relevant policies and procedures):

| ### Underpinning knowledge and understanding required: | Date of assessment and assessor initials |
| --- | --- |
| Demonstrates an understanding of the target and action range for HbA1c and the rationale for testing, including test frequency. |  |
| Demonstrates an understanding of how good or poor diabetic control will affect HbA1c. |  |
| Demonstrates an understanding of own accountability when undertaking diabetic monitoring. |  |
| Demonstrates an understanding of the limitations of this device. |  |
| Demonstrates a working knowledge of how to activate the device and check the display screen. |  |
| Demonstrates knowledge of correct storage of reagent cartridges and Quality Control (QC) material. |  |
| Demonstrates knowledge of how to prepare and run QC material. |  |
| Demonstrates knowledge of why it is important to perform the QC checks on the analyser and what to do if the checks fail. |  |
| Demonstrates knowledge of where to access information on troubleshooting. |  |
| Demonstrates an understanding of the procedure for reporting faults or adverse events associated with the device. |  |
| Demonstrate knowledge of safe lancing sites and how to obtain a capillary sample. |  |
| Demonstrates an understanding of the Health & Safety and Infection Control issues associated with the use of this device. |  |
| Knows how to obtain replacement materials. |  |

Polices and procedures associated with this competency

Medical Devices Policy Infection Control Policy Siemens DCA Vantage® HbA1c Analyser SOP

Assessment of competency:

| ### Performance Criteria | ### Date of assessment and assessor initials |
| --- | --- |
| Ensures reagent cartridges and QC are in date and that the device has been QC checked and can perform a QC check if required. |  |
| Confirms identity of person being tested and obtains informed consent. |  |
| Prepares site and uses lancing device correctly to produce a sample. |  |
| Carries out the test according to the Standard Operating Procedure/ manufacturer’s instructions. |  |
| Complies with Infection Control and Health & Safety Policy. |  |
| Informs person tested of result within limits of responsibility and ensures their comfort. |  |
| Documents the result clearly and accurately in the appropriate records in accordance with Trust policy. |  |
| Reports result as required and if result is outside of expected range for the individual takes appropriate action. |  |
| Can clean the device after use. |  |

NB The practitioner is reminded that this document records a baseline level of competence and safe use of the device.

Signatures on Completion:

| Signature of Practitioner: |  |
| --- | --- |
| Print name: Position: |  |
| Date: |  |
| Signature of Assessor/verifier: |  |
| Print name: Position: |  |
| Date of assessment: |  |
| Re-assessment due 3 yearly unless circumstances dictate earlier |  |